Zoostliss FTTH Fiber Optic Tool Kit

Portable optical power meter is an accurate and durable handheld meter designed for the installation, operation and maintenance of optical fiber network. It is a compact device with backlight switch and auto power on-off ability. Besides, it provides ultra-wide measurement range, high accuracy, user self-calibration function and universal port. In addition, it displays linear indicators (mW) and non-linear indicators (dBm) in one screen at the same time.

Brief Specifications:

- Wavelength(nm): 800~1700nm

- Detector: InGaAs

- Measurement Range (dBm): -70~+10

- Uncertainty: ±0.2(5%)

- Calibrated Wavelength(nm): 850,980,1300,1310,1490,1550

- Resolution(dB): Linear indication: 0.1%

- Loharithmic indication: 0.01dBm

- Optical Connector: FC/ Universal 2.5mm adaptor

- Operating Temperature: -10 ~ +60C

- Storage Temperature: -25 ~ +70C

- Relative Humidity: 0 to 95% (non-condensing)